DATE

SUBJECT PROPERTY STREET ADDRESS

PROJECT OR FACILITY NAME

| Water Flow Information See Worksheet on Page 2 |
| --- |
| STATIC | PSI |
| RESIDUAL | PSI |
| WATER FLOW | GPM |
| DURATION Length of time water source is capable of providing adequate water during a fire condition. | MINS |
| SOURCE OF WATER SUPPLY Tank, Lake, Etc. |  |
| SOURCE OF WATER FLOW DATA Person or persons who conducted test. |  |
| DATE AND TIME OF WATER FLOW TEST Water flow test shall have been conducted within the past six months. |  |
| ANTICIPATED WATER DEMAND Minimum water and pressure required to operate this system. | PSI |
|  | GPM |
| CLASSIFICATION OF HAZARD(S) Light, Ordinary Group 1, 2, 3, Extra Hazard Group 1, 2. |  |
| OCCUPANCY OF BUILDING Mercantile, Restaurant, Office, School, Industrial Plant, etc. |  |
| SPECIFIC TYPES OF SUPPRESSION SYSTEM(S) Wet, Dry, Preaction, Deluge, etc. |  |
| NFPA STANDARD(S) FOLLOWED IN DESIGN 13,14, 22, 24, 231, 231C, etc. |  |

| I, , | AFFIX ENGINEER'S SEAL AND SIGNATURE HERE |
| --- | --- |
| verify that the fire suppression design criteria are in accordance with all applicable codes and standards adopted by the Commonwealth and that the water flow information noted above is true and accurate. I further acknowledge that I have reviewed the anticipated water demand for this system and find the actual water flow and pressure adequate to serve this system. It is understood that I will be responsible for the approval of the final shop drawings prior to their submittal to the OMPC. |  |
| ST. ADDRESS |  |
| CITY |  |
| STATE ZIP |  |

Date Test Conducted:____________

| Static Pressure | Residual Pressure | Pitot Pressure | Flow Table | Hydrant Nozzle | Hydrant | Hydrant Butt | Flow Openings | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PSI | PSI | PSI | C-.______ | Coefficient | # | # | Inches |  |
| INSTRUCTIONS: 1. Sketch site showing road(s), building(s), water main and location of test hydrants. 2. Record test data in table above. 3. Plot graph and determine required design data. 4. Transpose data to Page 1. |